Chapter 3:	Methods and Techniques of Cervical Screening

Portuguese contribution of 4. March 2003

by Odete Real (odetereal@netcabo.pt), 1 page

3.4	Thin Layer Method

The Cervical smear  (Papanicolaou Test) was during the last fifty years the more effective method in the Cervical cancer screening Programme, reducing from 50 to 70% the deaths for this disease.

Although millions of tests were performed, a high number of deaths occurred per year.

Different techniques were developed in the last years in order to obtain an improvement in smears quality and to decrease the false negative rates and therefore the number of deaths.

From these methods, clinical studies using the Liquid Based Cytology ( LBC)  indicate that :

- To be an easy method for smear takers. We recommend for sampling device the Cervex- Brush® method. (In our screening programme we had an improvement on the quality smears limited by endocervical/metaplastic cells absent  in about 50% with this method).

- No significant numbers of cells remains on the pick-up device. No problems for execution technique of the smears and a good fixation of the same.

- For that, there is a significantly lower percentage of unsatisfactory smears.

- Improvement in about 100% of quality smears by the presence of 
endocervical /metaplastic cells,  than in the conventional method.

- Decrease in the smears percentage limited by inflammation.

- Make possible to do more slides in order to clarify a diagnosis.

- Decrease of smears with minimal atypias

- Improvement LSIL and HSIL detections.

- There is a smear in Thin layer, with good preservation cells, good fixation easy to study  that allow to a better diagnosis.

- The remaining material on  LBC can also to be used  in detection HPVDNA techniques, imunocytochemistry.

- Increase of the productivity with less tiredness.

- Recommendations must be done for a development of the method in different countries from the communities in order to have more consistent data about the cost / benefits.