CHAPTER 4:	Laboratory Guidelines and Quality Control for Cervical Screening

by Paul Klinkhamer and Hans Bulten

TABLE OF CONTENTS

4.0	EXECUTIVE SUMMARY	2

4.1	INTRODUCTION	2

4.2	PERSONNEL AND ORGANISATION	2

4.2.1	Final responsibility	2

4.2.2	Responsibilities for quality control	2

4.2.3	Requirements for the cytology laboratory	3

4.2.4	Requirements for cytotechnologists	3

4.2.4.1	Basic cytotechnologist	3

4.2.4.2	Senior cytotechnologist	3

4.2.4.3	Requirements for the cytopathologist	4

4.2.4.4	Requirements for other technical laboratory personnel	4

4.2.4.5	Administrative personnel	5

4.3	MATERIAL REQUIREMENTS	5

4.3.1	Building, rooms and furniture	5

4.3.2	Instruments/microscope	5

4.4	LABORATORY PROCEDURES AND PROTOCOLS	5

4.4.1	Quality manual	5

4.5	HANDLING AND ANALYSIS OF CERVICAL SAMPLES	5

4.5.1	Laboratory preparation	5

4.5.2	Assessment of the sample: stepwise screening	6

4.5.2.1	Initial assessment	6

4.5.2.2	Samples qualifying for a second screening assessment	6

4.5.2.3	Samples qualifying for assessment by a cytopathologist	6

4.5.3	Workload requirements	7

4.5.4	Archiving	7

4.5.4.1	Request form	7

4.5.4.2	Samples	7

4.5.4.3	Reports	7

4.6	RECORDING OF RESULTS	7

4.6.1	Laboratory information system	7

4.6.2	Authorisation of results	8

4.6.3	Laboratory response time	8

4.7	COMMUNICATION	8

4.7.1	Other laboratories	8

4.7.2	Sample takers	8

4.7.3	Gynecologists	8

4.7.4	Health authorities	8

4.7.5	Patients.	8

4.8	References	9

4.9	Glossary of terms	9

## EXECUTIVE SUMMARY

The organization of the cervical screening, and the tasks, requirements and responsibilities of the laboratories in different countries in the EU differ tremendously. In this chapter guidelines are given for the basic requirements for a cytology laboratory that takes part in an organized cervical screening program.

## INTRODUCTION

Cytological examination of the cervix is a widely accepted method for detecting pre-invasive and early invasive lesions, before these lesions become symptomatic. For this test, epithelial cells are sampled from the transformation zone of the cervix with a special sampling-device and examined with a microscope. Abnormal cells in the sample can be recognized microscopically by specially trained and experienced cytotechnologists. Early detection and treatment of cervical intraepithelial lesions (CIN) by minimally invasive procedures can reduce morbidity. Thus development of cancer can be prevented. When cancer has already developed, it is important to detect the disease in an early stage, in order to increase survival. Maximizing the quality of the test can improve the quality of live of the patient and reduce mortality of cervical cancer.

The quality of the test depends on all subsequent steps: invitation of the woman, sampling of the specimen, adequate handling and staining of the sample, screening and interpretation of the slide and reporting of the results, including a repeat-advice. Diagnostic performance of the test is hampered if one of  the subsequent steps is inadequately performed. Visual examination and interpretation of cells is a subjective procedure, depending on the skills and experience of the cytotechnologist and the time spent on examination of the cell-sample. This leads to inter- and intraobserver variation and incorrect diagnoses. As such, the test is imperfect and cannot be performed without errors. Introduction of guidelines can reduce the rate of incorrect test-results. Optimal quality assurance accounts for best possible patient care. With respect to cervical screening this means a balance between manageable control of costs and low false test result rates.

## PERSONNEL AND ORGANISATION

### Final responsibility

- A medical doctor certified for cytopathology is responsible for the management of the pathology laboratory. The position of each employee in the pathology laboratory is recorded in an organization flow-chart.

- Final responsibility for all activities performed in the laboratory is given to a registered cytopathologist

### Responsibilities for quality control

- The managing doctor is responsible for the quality system and for the approval of working-guidelines and –procedures.

- A laboratory employee is responsible for maintenance of quality control procedures, including management and publishing of a quality manual, working-guidelines and -procedures. The responsible employee can provide information with respect to the performance of quality assurance and evaluation of the cervical screening program

- This quality control employee should have direct access to the managing cytopathologist

- All employees must take part in performance of the quality control system

### Requirements for the cytology laboratory

- The cytology laboratory (or group of collaborating cytology laboratories) should process sufficient smear to be able to maintain adequate expertise. There is insufficient evidence based data to make a definitive statement about the number of smears necessary for this purpose, but it is the professional opinion of the authors, that at least 15000 smears should be processed.

- If applicable the laboratory should stimulate this by extensive circulation of positive- and difficult cases between cytotechnologists, within the laboratory itself as well as between laboratories.

- The laboratory should monitor the diagnostic accuracy of the cytotechnologists individually and as a group. These data should be compared to other laboratories taking part in the cervical screening program.

- The laboratory should have a fale-safe system in place to ensure the patient is treated adequately. However it remains the primary responsibility of the smear taker that this treatment is given. The laboratory can assist the smear taker by reminding that the advised follow-up period has passed.

### Requirements for cytotechnologists

#### Basic cytotechnologist

- The requirements of the basic cytotechnologist may differ depending on local practice and regulations.

- Registration of experience and educational status of individual cytotechnologists is required (description of the function and curriculum vitae) and is the responsibility of the managing doctor. Maintenance of know-how and skills and providing facilities for further development are required.

- Cervical samples are analyzed exclusively by qualified personnel as is detailed in chapter 10 of this guideline.

- Cytotechnologists must respect patient confidentiality.

- Cytotechnologists are able to handle relevant laboratory techniques and perform prescribed health- and safety procedures

- Participation in quality control programs is mandatory for all cytotechnologists

- Other tasks are administrative procedures, archival of samples, technical laboratory tasks, monitoring of follow-up results and activities related to quality assurance

#### Senior cytotechnologist

- The senior cytotechnologist has a minimal of 5 years experience in gynaecological cytology.

- Specific tasks of the senior cytotechnologists are:

  - Supervision of cytotechnologists.

  - Communication with respect to diagnosis with cytopathologist

  - Communication with managing cytotechnologist concerning the screening quality of cytotechnologists

  - Review of abnormal cases, diagnosed by first analysis of cytotechnologist (step-wise screening)

- Every pathology laboratory, assessing cervical samples must appoint a cytotechnologist who is responsible for the daily management. This managing cytotechnologist has a minimum of 5 years experience in gynaecological cytology.

  - The managing cytotechnologist will be responsible for

    - Personnel affairs and staff appraisal

    - Daily management of the cytopathology laboratory

    - Supervision of individual cytotechnologists

    - Communication with responsible cytopathologist

  - The managing cytotechnologist is responsible for periodical circulation and discussion of special cases between cytotechnologists, and between cytotechnologists and responsible cytopathologists.

#### Requirements for the cytopathologist

- The cytopathologist is responsible for the assessment of cervical samples

- Specific tasks of the cytopathologist with respect to cervical cytology are:

  - Assessment and authorization of all cases

    - who are referred to the gynecologist

    - showing discrepancy between the diagnosis of cytotechnologists for as far as these different diagnoses would lead to a different advise to the requesting physician.

    - review of all cases showing serious discrepancy between the cytological-  and/or histological follow-up.

- Communication with and education of:

  - gynecologists and general practitioners with respect to follow-up of specific cases

  - cytotechnologists with respect to difficult cases and with respect to the correlation between cytological and histological diagnosis

- The managing cytopathologists is responsible for adequate (continuing-) education of cytotechnologists

- The cytopathologists must respect patient confidentiality.

- The cytopathologist is responsible for the reporting of:

  - periodical feedback to applicants with respect to the quality aspects of the samples (for example: adequacy).

  - the annual report concerning the outcomes of the cytological and histological follow-up examinations.

#### Requirements for other technical laboratory personnel

- Technical laboratory personnel

  - must respect patient confidentiality.

  - Is able to handle relevant laboratory techniques according to guidelines and procedures.

  - must perform prescribed health- and safety procedures.

  - must take part in quality control programs.

  - Laboratory personnel is educated and experienced in concordance with their function.

#### Administrative personnel

- Secretarial and administrative employees should be able to work with current word processors and with automated database systems.

- Secretarial and administrative employees should be educated in relevant medical terminology.

- Administrative personnel must respect patient confidentiality.

## MATERIAL REQUIREMENTS

### Building, rooms and furniture

- The laboratory should be located, constructed and equipped in such way that all functions can be properly performed.

- The screening room as well as the sample-preparation room and the secretarial room should be separate. All areas should be well lit, well ventilated, quiet and spacious.

- The specimen preparation area should have highly effective exhaust systems and approved biohazard hoods, together with adequate counter space and sinks.

- Cytotechnologists should have supportive, comfortable chairs and ample desk space to permit microscopic examination and record keeping.

- Laboratories should take adequate measures to prevent repetitive motion injuries and other injuries due to ergonomic problems.

### Instruments/microscope

- A binocular microscope should be present and of high quality and regularly serviced. Objectives 10x and 40x should be present minimally.

- Relevant textbooks and journals should be easily available and accessible.

## LABORATORY PROCEDURES AND PROTOCOLS

### Quality manual

- The laboratory should have a quality manual in which all procedures are embedded. The laboratory should have and use strict protocols for all procedures .The whole staff must be informed and use these procedures. The protocols should be yearly checked and, if necessary, adjusted. See chapter 7 of this guideline for further details.

## HANDLING AND ANALYSIS OF CERVICAL SAMPLES

### Laboratory preparation

- All laboratory steps must be registered and related to a member of the staff.

- All slides should be accompanied by a request form with at least the patient’s name, date of birth and name of physician for proper identification and clinical information.

- Any irregularities concerning the clinical data sheet and/or the cervical specimen itself should be recorded.

- After identification both the sample and the request form are labeled with an unique identification number.

- Prior to the assessment of the sample the patients history must be retrieved from the local laboratory files and be available to the cytotechnologist

- The samples are stained according to a standard Papanicolaou protocol (including control of staining).

- The samples should be correctly cover slipped.

### Assessment of the sample: stepwise screening

#### Initial assessment

- The  cover slipped area should be investigated completely, in horizontal or vertical direction  using overlapping screening-patterns. Unusual and / or abnormal cells are marked.

- Primary screening is performed by cytotechnologists under delegated responsibility of the  cytopathologist

- The results are reported according to the national standard classification system.

- Conclusion, repeat advice or referral for gynecological or colposcopic examination is given in concordance with national guidelines

- A statement about the adequacy of the cervical sample is made in the report. Inadequate samples are given a repeat advice in concordance with national guidelines

- Repeat samples must always be compared with the sample on which the repeat advice is given

#### Samples qualifying for a second screening assessment

- The following cases must follow a multiple screening protocol (two cytotechnologists (preferably one senior cytotechnologist) or one cytotechnologist and one cytopathologist):

    - Samples with less- or un-satisfactory quality

    - Samples with advice: referral to gynecologist

    - Samples with a repeat advice

    - Quality control related slides

    - Other high risk samples according to clinical information or patient history.

- First normal cytology after abnormal cytology or histology

- Samples of clinical suspect cases (abnormal discharge, postmenopausal bleeding, abnormal or suspect portio)

- Negative samples preceding maximally five years prior to an abnormal sample initiating referral to gynecologists

- Samples of postmenopausal women with atrophic, difficult to classify, probably dysplastic cells with an advice for a repeat sample after short term oestrogen treatment

#### Samples qualifying for assessment by a cytopathologist

- Samples with a referral to the gynecologist

- Samples with an advice for histological examination

- Samples with atypical endometrium in the post menopause

- Samples with discrepancies between cytotechnologists

### Workload requirements

- It is advised to screen not more then 2 hours without a break.

- It is advised that sceeners should screen no more than six hours daily.

- A reasonable maximum word load in terms of number of slides per day to be screened should be established within the laboratory. This should take into account that the cytotechnicians also has tasks in quality control procedures and recall of patients.

### Archiving

- The laboratory is responsible for a good administration and archiving of request forms, samples and reports. Procedures should comply with the nationally privacy legislation.

#### Request form

- The request forms must be stored for a minimum of three months.

#### Samples

- All slides must be stored for a minimum of 10 years in adequate conditions for preservation. Slides with abnormalities should be kept indefinitely.

#### Reports

- The reports must be stored for a minimum of 10 years.

## RECORDING OF RESULTS

### Laboratory information system

- There must be an adequate record keeping system, whether manual or computerized, it must be accurate and easily accessible to all laboratory personnel.

- The system should be patient oriented and should provide easy access to details about previous cervical cytology and –histology of the patient.

- The laboratory system should be able to provide the data necessary for evaluation of the population screening programme as detailed in chapter 5.2.5 of this guideline.

- The system should register at least:

  - Name and address of the laboratory

  - Laboratory id-number

  - Date of arrival in the laboratory

  - The results of the laboratory examination in concordance with the national standard classification system

  - Advice for repeat sample or referral

  - Date of the final report

  - Name of the person or persons who evaluated the sample

- The system should report:

  - Patient identification data.

  - The results of the laboratory examination in concordance with the national standard classification system

  - Advice for repeat sample or referral

  - Name of the person or persons who evaluated the sample

  - Date of the final report

### Authorisation of results

- Every report is checked for inconsistencies before authorization

- every report is manually or electronically authorised by or in name of responsible cytopathologist

- Reports of cases examined by a cytopathologist is signed (manually of electronically) by the cytopathologist in question

### Laboratory response time

- All efforts should be directed to have the results of the screening reported in 10 working days.

- If the above mentioned timelimit cannot be met, the referring doctor of the smear should be informed.

## COMMUNICATION

### Other laboratories

- Laboratories should make relevant clinical information and follow-up data available to other labs taking part in the cervical screening program.

### Sample takers

- Sample takers must be annually informed about their percentage of less satisfactory or unsatisfactory cell samples versus the mean percentage of the country/region/laboratory.

### Gynecologists

- Gynecologists should make relevant clinical information and follow-up data available to labs taking part in the cervical screening program.

### Health authorities

- Laboratories should provide adequate data to the health authorities to enable them to evaluate the quality and effectiveness of the cervical screening program.

### Patients.

- Informing the women of the result of the smear is the responsibility of the person who takes the sample.

## References

-Cytological screening in the control of cervical cancer: technical guidelines, WHO, Geneva 1988

-http://bethesda2001.cancer.gov.

-Arbyn M, Schenck U: Detection of false negative Pap smears by rapid reviewing: A Metaanalysis. Acta Cytol 2000;44:949-957

-Cervical Cytopathology Practice Guidelines. American Society of Cytopathology. Acta Cytol 2001;45:201-226

-Hanselaar A, Vooijs G: Quality Assurance in Cytology in the Netherlands. In Compendium on quality assurance, proficiency testing and workload limitations in clinical cytology. Edited by Wied et all. Chicago,1995,pp 142-147

-Schenck U, Reuter B: Workload in the cytology Laboratory. In Compendium on quality assurance, proficiency testing and workload limitations in clinical cytology. Edited by Wied et all. Chicago,1995,pp 223-230

-Clinical Laboratory Improvement Amendments of 1988 (CLIA’88)

http://cms.hhs.gov/clia/

-D. Coleman, N. Day, G. Douglas et all.: European guidelines for quality assurance in cervical cancer screening. Eur. J. Cancer 1993;29A: Suppl. 4:1-38

-McCoogan E: Quality Assurance in Cervical Screening in the United Kingdom: Ensuring that quality  continious to improve. In Compendium on quality assurance, proficiency testing and workload limitations in clinical cytology. Edited by Wied et all. Chicago,1995,pp 125-133

-Mody D, Davey D et all.: Quality Assurance and Risk Reduction Guidelines. IAC Taskforce Chicago 2000. Acta Cytol 2000;44:496-507

-Andrion A, Dalla Palma P: The cervico-vaginal cytology workload. A complex task in planning laboratory activities. Pathologica 2000;92:177-184

(artikel in Italiaans, abstract in Engels op pubmed)

## Glossary of terms

not yet available